## Slide 1: Conductivity of MXene film by 4 point probe (Jandel ResTest)
Hao Wang

## Slide 2: Procedure (Wafer Resistivity)
Set the sample
Clean the probe with Ethanol
(Gently)
Select ‘Wafer Resistivity’
Enter the sample thickness
Set current
Resistivity is measured
Caution:
Make sure that turn off current before releasing the probe from the sample

## Slide 3: Link
http://www.jandel.co.uk/downloads/Jandel_four_point_probe_restest.pdf